[image: image5.png]R e e N Huazheng




  [image: image55.wmf]                           

HPC500 

Automobile Exhaust Analyzer
      [image: image1.png]



Huazheng Electric Manufacturing (Baoding) Co., Ltd

Dear user:

Thank you for choosing HPC500 Automobile Exhaust Analyzer.

     We hope that this instrument can make your work easier and more enjoyable, so that you can get the feeling of office automation in the test and analysis work.

  Before using the instrument, please read this manual, and operate and maintain the instrument according to the manual to prolong its service life.

"Just a light press, the test will be completed automatically" is the operating characteristics of this instrument.

     If you are satisfied with this instrument, please tell your colleagues; if you are not satisfied with this instrument, please call (0312) 6775656 to tell you to serve you at all times-Baoding Huazheng Electric Manufacturing Co., Ltd., our company will definitely make you satisfied !

Contents

1I. Introduction: adjustment


1II.The main function


2III Technical parameters


3IV. Principle of operation:


4V. Operation Instruction


29VI. Replacement of spare part


33VII.Diagnoses for breakdown


34VIII.Instrument storage and maintenance:


34IX.Responsibility and guarantee of the factory


34X.Appendix


35XI.Packing list





I. Introduction: adjustment
HPC500/400automobile exhaust analyzer according to the national standard GB18285-2018" ignition engine exhaust emission limits and methods of measurement ( double idle speed and simple driving mode" ) and development of a test apparatus. We determine the technical indicators, also referring to the people's Republic of China communications industry standard JT/T386-2004" auto emissions tester technical conditions" and other standards. Apparatus suitable for gasoline, liquefied petroleum gas ( LPG ), CNG and alcohol as fuel engine emission measurement.

This product is the use of German imports of movement, science and technology developed by. The performance stability, reliability are in line with international standards ISO3930or OIML R99 0level precision. The apparatus with a single idle, idle, double ASM condition measurement.
II.The main function
1, the use of liquid crystal display, Chinese ( or English ) menu, can display HC, CO, CO2, O2, NOx ( NO+NO2),λ, COcor and speed, oil temperature, flow, pressure data.
2, range, automatic zero. Automatic temperature compensation, automatic oil-water separator.
3, this machine adopts imported German O2infrared detectors, sensors and NOX sensors, vibration resistance, good stability, high accuracy.
4, can be equipped with automatic built-in printer interface, RS-232A ( or 0-5V simulation interface ).
5, machine a self-diagnosis, fault when prompted, until the troubleshooting can continue measurement.
6, instrument with time function, can display when, minutes and seconds, year, month, day, print.
7, with HC residues inspection, automatic cleaning gas, gas leak detection function, cleaning the sampling tube gas path.
8, when measuring instantaneous value end show display concentration, average value, and examination showed maximum, minimum. Print output concentration maximum value, minimum value and average value.
9, can enter the number plate of the car, and can store500 cars measurement data, for ready retrieval printing.
10, with single, double idle idle measurement measurement, general measuring three kinds of measurement.
11, with a speed, oil temperature measuring function.
III Technical parameters
1, measurement range: 
HC:0 to 10000 ×10-6( PPM ) Vol ( petrol, hexane equivalent )
Or C3H80-20000 ×10-6( PPM ) Vol ( liquefied petroleum gas as fuel, propane equivalent )
CO:0 ~ 10× 10-2( Vol CO2:0% )～ 20 ×10-2( vol % )
O2:～ 25 × 10-2( Vol NOx:0% )～ 5000 ×10-6( PPM ) Vol
λ :0.50～ 3.00         COcor:0 ～ 10× 10-2( vol % )
R.M.P:0-9999r.m.p            OIL TEMP:0-150 ℃
2, error: HC ± 10× 10-6( PPM ) Vol ( absolute error ) or± 5% ( relative error)
CO ± 0.03× 10-2( % ) Vol ( absolute error ) or± 5% ( relative error)
CO2 ± 0.5× 10-2( % ) Vol ( absolute error ) or± 5% ( relative error)
O2± 0.1× 10-2( % ) Vol ( absolute error ) or± 5% ( relative error)
NOx ± 25× 10-6( PPM ) Vol ( absolute error ) or± 4% ( relative error)
The above error in one of the requirements to meet.
3: auto zero calibration, stability, moment drift≤± 3%
4, repeat: repeat error less than ± 2%
5, resolution: 
HC:1 ×10-6( PPM ) Vol CO: 0.01× 10-2( % ) of Vol CO2: 0.1× 10-2( vol % )
O2: 0.01× 10-2( % ) of Vol NOx:1 ×10-6( PPM ) Vol λ:0.01
R.P.M10r.p.m OIL TEMP at 0.1 ℃
6:95% in response, response time less than 10 seconds
7, the preheating time:8min ( can be preheated3min emergency detection )
8, the use of environmental conditions: temperature of -5-50 ℃, relative humidity90%
9, the oxygen sensor and the nitrogen oxygen sensor in air in life expectancy for two years and 14 months. ( over the duration of accuracy will drop )
10, power: AC100-240V50/60HZ or DC12V ( matching power inverter )
11, power consumption: <40VA
12, dimensions: 420mm ( long )× 310mm ( W)× 170mm ( high )
13, weight: 9kg

IV. Principle of operation: 

The test of HC, CO and CO2 via HPC500/400 Auto Exhaust Analyser, which adopts nondispersive infrared ray analytical method (NDIR), is based on the principle that different gases selectively absorb infrared rays.   

The Instrument, by adopting narrowband infrared interference filter, is capable of analysing the content of required gas from tested gas, and therefore has good selectivity. First inject a series of staition gas with different concentration into test chamber of the instrument to get a standard curve of gas concentration and output voltage and save it in computer. Inject exhaust gas to be tested into test chamber and then test its relevant voltage value and compare it with the standard curve saved in computer to get correct concentration value of tested gas.    

For test of HC, CO and CO2, the instrument adopts the same light source and the same detector. Its circuit adopts advanced technologies, e.g. AGC circuit, micro-processing computing technology and automatic zeroing, etc. It can display instantaneous value and also can display average concentration value as required by national inspection code. Data can be either displayed from front panel or PRTed out. As required by users its back panel has output interface so that it can be connected with computer.      

An oxygen sensor is adopted for testing oxygen concentration. Its output electric current has linearity relationship with oxygen concentration, from which oxygen concentration can be tested.    

In order to know auto combustion and whether the exhaust has leakage, the instrument can also displays excessive air coefficient λ and carbon monoxide (CO) emendation value (COcor), which are related to combustion. Gasoline, LPG and methane have different expressions of λ and carbon monoxide (CO) emendation value (COcor) whose function is to show that auto exhaust pipe has leakage if difference between COcor and CO test value is significant. At the moment, COcor represents actual CO value, namely the value when exhaust pipe has not leakage.

V. Operation Instruction

1.Function of operation keys


[image: image2.wmf]Fig.1 Sketch map of front panel
Key-S: mainly used for moving cursor (rectangle, dark blue) to choose items needed. It may also be used for exiting from some operation state (for details, refer to the explanation on the screen).

Key-E: mainly used for confirming chosen items and executing chosen operation.

Key-▲、Key-▼: mainly used for increasing and decreasing of data revision and can also used in collaboration with Key-S for choosing of items.
2. Preheat of the Instrument 

Connect power supply line at back panel and turn on power supply switch and LCD display screen displays Warm up，waiting……….xxx S. Now the Instrument enters into the state of 10-minute warm-up. Countdown mode is adopted for warm-up timing. At the last 30 sec. of countdown, the instrument opens air pump and reversing valve automatically, entering 30-sec. automatic zeroing (there is relevant prompt on the screen and count-down is also adopted for displaying of the 30 sec.). After warm-up and zeroing finish, the following main menu image is displayed on display screen:  

[image: image6.png]R e e N Huazheng




[image: image7.png]R e e N Huazheng




[image: image8.png]R e e N Huazheng




[image: image9.png]R e e N Huazheng



[image: image10]
[image: image11][image: image12]
[image: image13]
[image: image14]
3. General operation 

Warm-up can be ended for entering 30-sec. automatic zeroing ahead of time by pressing Key-▲ and Key-▼ simultaneously in the process of warm-up countdown. At the end of zeroing countdown, the above main menu is displayed.  

When the main menu is just displayed, cursor is on Test . Continuously press Key-S to move cursor in sequence to L.P. , ADJ , SET , SCH  and Test. When  L.P. is chosen via Key-S, ZERO、CLS 、ROLL to  L.P.  may be chosen by pressing Key-▲ or Key-▼.

3.1 L.P. (for inspecting whether gas pipeline of the instrument has leakage)

When cursor is moved to  L.P.  via Key-S (in collaboration with Key-▲ or Key-▼), press Key-E, and then a prompt appears on the screen: Put around the probe with sealing, press E to continue (S: exit). After probe is put around, press Key-E for 20-sec L.P. (count-down) to judge whether gas pipeline has leakage. If any leakage, “leakage” will be displayed at the top of image; conversely there will not be such reminder. At the end of 20-sec countdown, it will automatically return to main menu image.    

If there is prompt “leakage”, please inspect gas pipeline until there is no leakage in another L.P. (“leakage” reminder disappears), otherwise the instrument cannot start up test.   

3.2 ZERO (used for inspecting whether gas pipeline is severely polluted) 

Choose ZERO via Key-S, Key-▲ or Key-▼ and then press Key-E so that the instrument opens air pump and reversing valve for 20-sec “Zeroing” (or reset). A prompt appears on the screen: Zeroing, wait…19s(S: exit). It will automatically return to main menu image at the end of 20-sec countdown. 

If gas pipeline has been severely polluted, zeroing result of benchmark error will be displayed at the top of screen (failure of benchmark voltage being too low resulted from severe pollution). With the failure the instrument will not be able to start up test. Therefore in this way gas pipeline must be cleaned.   

3.3 CLS (namely reverse blowing)
For HPC400 instrument, users can connect the instrument with air compressor for reverse blowing and sampling tube for reverse blowing cleaning. Its operation is: choose CLS  via Key-S, Key-▲ or Key-▼and then press Key-E for 5-sec cleaning. In addition, when failure of gas pipeline obstruction appears, choose CLS  and press Key-E for eliminating prompt “gas pipeline obstruction” on the screen. 

3.4 ROLL (used for operation of installing PRTer scroll)

Choose ROLL via Key-S, Key-▲ or Key-▼ and then press Key-E for 5-sec ROLL that will stop automatically at the end of 5 sec. When roll is started up, STOP is displayed at the cursor, namely if, at the moment, pressing Key-E again roll would be stopped and ROLL is displayed again at the cursor.     

3.5 SET 

Choose SET  via Key-S and then press Key-E, then the following SET menu will be displayed on display screen:  
[image: image15]
[image: image16]
[image: image17]
The setup menu is used by users for SET Stroke, IGN. mode, Fuel type, test mode and time setup (refer to the 5th item below for time setup).   

The choice of Stroke and IGN.M. mode will affect the test of speed. Their relation is:
	Stroke
	4 Stroke
	2 Stroke

	IGN.M. mode
	Once
	Double
	Once
	Double

	RPM calculation
	×2
	×1
	×1
	÷2


Therefore if Stroke or IGN.M. mode were wrongly chosen, RPM calculation would have error of integral times.   

If choosing “gasoline”, test result of HC adopts hexane normal (‘HC’ is chosen for display); if choosing LPG, test result of HC adopts propane normal (C3H8 is chosen for display).

Test mode can either be set here or reset in test menu. 

Continuously press Key-S to choose in sequence Stroke      , IGN. mode ,
Fuel type   , Test mode   , Time setup  and Return      . The former 4 Items can be reset by pressing Key-▲ or Key-▼, after chosen via Key-S.

When cursor appears at Return      ，press Key-E for exiting from SET and returning to main menu image. 

3.6 ADJ and Inspection
Choose ADJ  in main menu via Key-S and then press Key-E, then the following adjust menu is displayed on display screen:

[image: image18]
[image: image19]
[image: image20]
The menu is used by users for, when necessary, ADJ (also called “scaling”) or inspection  

ADJ of each item has been done before the instrument leaves factory. Therefore, in addition to O2 ADJ, ADJ of the other items may be redone (Scaling) after the instrument has been used for a period of time (3 months or more), based on specific requirements.   

Refer to the 6th Item below for details of ADJ operation. 

Item 6，1，2，3，4，5 may be chosen in sequence by pressing Key-S.  

Choose Item-6 VOLTAGE DISPLAY via Key-S, and then press Key-E, then the following image is displayed:

[image: image21]
[image: image22]
[image: image23]
When something goes wrong with the instrument, use the voltage value on the image for judgment.  

Press Key-S for exiting from the image and returning to adjust menu. 

Choose Item-7 Gauge gas check via Key-S, and then press Key-E, then the following image is displayed:

[image: image24]
[image: image25]
[image: image26]
Note: whether HC/ C3H8 appears on the screen is determined by the choice of fuel type in SET menu.  Choose GASOLINE, and HC appears; choose LPG and C3H8appears.

At the same time, cursor can be moved from TESTto ESC . When cursor points atTEST, a prompt appears on the screen by pressing E: press gauge gas to Test point(S: exit E: confirm to check)

3-5sec later, press E to carry on 45sec. test. When countdown ends, send the

average value of the last 30sec. to check out as the test result. Meanwhile PRT appears on the screen. Choose  PRT via S, and then test result can be PRTed via E.

Move cursor toESC , press E for returning to adjust menu, and then press E for returning to main menu. 
3.7 Search 
The instrument is capable of saving test data and at most can save test data of 2000 vehicles (beyond that, only data of the last 2000 vehicles would be saved and the anterior data would be lost).  

SCH can be performed on the data saved. 

Choose SCH in main menu via Key-S and then press Key-E, and then the following menu is displayed:   

[image: image27]
[image: image28]
[image: image29]
The image shows how much data is saved. SCH can be done either by index on number-plates or index on serial number . (the one saved last shall be the first Item and from back to front in sequence are 2nd, 3rd, ……Item)

Item 1, 2, 3, 4 may be chosen in sequence by pressing Key-S.

When Item 2 (SCH by index on number-plates) is chosen, press Key-E and then a prompt “Plate No: XXXXXX（ S: select ，E: confirm,∧∨: modify，）” appears on the screen. Follow the prompt to revise the 8-character number plate to be index number, and then press Key-E (directly press Key-E if there is no need for revision), then relevant data index is displayed on the screen, including number of data, test time, number plate, concentration values, RPM and O. T, etc.  

When Item 3 is chosen (SCH by index on serial number), press Key-E and then index on serial number that can be reset is prompted on the screen. Then press Key-E to show the data of the Item. Test data of serial number +1（or –1） may be searched by pressing Key-▲ (or Key-▼). 

At the end of index SCH, press Key-S to return to database menu. 

If Item 1 (DELETE ALL DATA) is chosen, press Key-E then a prompt ” Delete all data! S: cancel E: confirm “appears on the screen. .press key–S to return database menu; press key –E and then a prompt “Data is deleted!” appears on the screen .

If Item 4 ESC  is chosen, press Key-E to return to main menu. 

3.8 Test 

Choose Test in main menu via Key-S and then press Key-E, and then the test image is displayed on the screen: 
[image: image30]
[image: image31]
[image: image32]
[image: image33][image: image34]
[image: image35][image: image36]
[image: image37][image: image38]
PRT  and SAVE may not appear and cursor is at ESC  when the test menu is just displayed 

STR , PRT , SAVE andCUR  may be chosen in sequence by pressing Key-S, as well as 7-character number plate and the sign of SET or not, e.g.√SFLO1234, IDLE, ESC .、 may be chosen in  sequence. by pressing key –s.

Method for SET and reset of number plate: 

When cursor is at the 8-character number plate and a former sign such as        

√AFL01234（number plate set originally）, press Key-E and cursor is at only sign ×, while “×” or “√” can be chosen by pressing Key-▲ or Key-▼. Sign “×” indicates not SET number plate, while sign “√” indicates SET number plate. When “×” is chosen, number plate shall not be set and the 7-character number plate behind it shall be invalid, and there shall be not number plate in PRTing out, nor is in data saved. At the moment, press Key-E again, cursor will return to including the whole 8-character ×AFL01234（indicating not SET number plate!）.   

Press key-s to move crusor to the first charatcter A ,and press key -△or key -▽to reset.

When sign “√” is chosen, SET and revision of number plate shall be performed next. 

Press Key-S again to move cursor to the second character F, and press Key-▲ or Key-▼ for reset. After the reset of second character is completed, press Key-S again to move cursor to the third character and press Key-▲ or Key-▼ for reset. Likewise, perform revision until the reset of the 8th character is done. Characters from the 2nd to 7th can choose from the Arabic numerals from 0 to 9 or the 26 capital English letters from A to Z.   

After reset of number plate is done, press Key-E for confirmation and cursor shall be at

 √BRP12345（supposed to be new number plate） 

When cursor is at IDLE it may be reset to be Double idle and General   by pressing Key-▲ or Key-▼. 

Note: Prior to starting up test, reset of number plate must be done (if number plate is not needed sign ‘×’ before number plate must be chosen). And test mode also must be chosen from general, idle and double idle. before test can be started up.    

Press Key-S to choose ESC ，and Key-E to return to main menu. 

4. Test Procedure 
4.0 Preparation prior to test 

4.0.1 The instrument has entered into main menu display after 10 minutes’ preheat. 
4.0.2. Connect probe with inlet of water trap on the back panel of the instrument with a 5-meter-long plastic tube. Equipped with a speed and oil temperature sensor: speed sensor head is inserted into the cigarette lighter in the car ( or sleeve crocodile clip, clip in the car battery on the positive and negative pole ); the oil dipstick out, the oil temperature probe insert.
The instrument has three kinds of test mode, namely General, idle and double idle.
General, in which instantaneous test data is displayed continuously, applies to observing and monitoring real-time value of exhaust gas emission from motor vehicle and test under ASM. 

Idle is arranged according to regulations on idling procedure from GB/T3845-93 "measurement method for pollutants at idle speed from vehicle with prefot engine.”. 

Double idle is arranged according to regulations on D. idling procedure from Appendix C of GB/T3845-93 "Test method for pollutants at D. idle from vehicle”.

The instrument also applies to users without tachometer or OIL. T probe. 

4.1 Test with Idle speed
First input number plate of vehicle to be tested as stated in Section 3.8 and 3.5, and then choose Stroke, IGN.M. mode and idle. 

4.1.1 Choose STR via Key-S in test menu, and then press Key-E, then the following prompt is displayed on the screen:  
[image: image39]
4.1.2 Adjust speed to rated speed via Key-▲ or Key-▼, and then press Key-E, then the instrument enters into 20-sec automatic zeroing process. The following image is displayed: 
[image: image40]
4.1.3 At the end of 20-sec zeroing countdown, the instrument enters into 30-sec HC remained check . The following image is displayed:

[image: image41]
4.14 HC remained check passes test, the following prompt of 70% of rated speed is displayed: 

[image: image42]
When RPM is adjusted to （3500±100）r/min, the instrument prompt:

[image: image43]
Now the instrument enters into 30-sec countdown of engine preheat.

4.1.5 After engine preheat finishes, it is prompted on the following image to retard the speed to idle (≤1100r/min).

[image: image44]
4.1.6 When RPM is adjusted to appropriate value, the following prompt image is displayed:

[image: image45]
4.1.7 After the probe is inserted into the exhaust and exhaust gas enters into optical path of the instrument, the instrument enters into idle test.  

[image: image46]
Test lasts altogether 45 seconds, and the former 15 seconds is at preparation stage. For the last 30 seconds the maximum value and minimum value shall be determined and saved by the instrument, and average value shall be worked out.    

4.1.8 When test time is up, the following prompt image is displayed:   

[image: image47.png]Huazheng




Along with taking out the probe, HC concentration reduces. When HC concentration reduces below 30% of average value or is less than 22ppmvol, the instrument opens reversing valve automatically to accelerate the cleaning of test optical path system. The following prompt image shows that the instrument enters into 60-sec countdown of zeroing:   

[image: image48.png]



After zeroing is completed, the air pump is turned off and the instrument enters into 5-sec cleaning (reverse blowing);
[image: image49.png]



After cleaning (reverse blowing) of sampling tube is completed, valve is turned off and the instrument returns to test menu, and average value of the test is displayed on the screen.   

4.1.9 Choose PRT  via Key-S and then press Key-E to PRT out the result of idle.
4.1.10 Choose SAVE via Key-S and then press Key-E to save the test data and number of the data saved will be displayed on the screen. Press key –s for return to test menu.

4.1.11 Choose AVE via Key-S and then press Key-▲ or Key-▼ to inspect the display of the minimum value, real-time value and maximum value, and then return to display of average value. 

4.2 Double idle(accompanying tachometer)

As said above in section 3.8 and 3.5, inputting number plate of the vehicle to be tested and selecting double idle. 

4.2.1 Choose STR  in test menu via S. Press E and the prompt Set Speed will appear on the display screen (the display screen is the same as that mentioned in section 4.1.1) 

4.2.2 The same as 4.1.2

4.2.3 The same as 4.1.3
4.2.4 The same as 4.1.4

4.2.5 After preheat of engine is completed, the screen prompt notices: adjust RPM to fast idle (50% of rated speed), as following: 

[image: image50.png]r/min




4.2.6 The screen will have the following prompt notice after RPM is adjusted to normal range of fast idle: 

[image: image51.wmf]
4.2.7 After probe injected into the exhaust, the instrument enters fast idle test when exhaust gas gets into optical path. 

[image: image52.wmf]
Fast idle test is 45 seconds altogether, first 15 seconds are for preparation and the following 30 seconds are for formal test. The maximum value, minimum value and average value will be obtained. 

4.2.8 After fast idle test is completed, the instrument will prompt notify: 

[image: image53.wmf]
After RPM is adjusted to idle, the instrument will prompt notify: 
[image: image54.wmf]
2 seconds later, it shows: 

[image: image55.wmf]
Idle test is 45 seconds altogether, first 15 seconds are for preparation and the following 30 seconds are for formal test. The maximum value, minimum value and average value will be obtained. 

4.2.9 After idling is completed, operation and notification on instrument are the same as that said in 4.1.8

The process includes taking out probe, shutting off air pump after 60-second cleaning, 5-second cleaning (reverse blowing), switching off valve and automatically returning to test menu. At this time, the data shown is the average value AVE2 of the second time (idle) test. 

4.2.10 Choose PRTvia S and press E to PRT out the test result of both fast idle test and idling. 

4.2.11 Save, the same as 4.1.10

4.2.12 Choose AVE2via S, and press ▲or ▼ to check and display MIN2 (the minimum value of the second time idling), real-time value, maximum value (fast idle), average value (fast idle), minimum value (fast idle), MAX2 and AVE2. 

4.3 General

According to section 3.8 and 3.5, number plate of the vehicle to be tested and Stroke, IGN.M. mode and general shall be input. 

4.3.1 Choose STR  in test menu via S.  Press E to start up 20-second zeroing and the screen shows: 


4.3.2 After 20-second zeroing ends, the screen shows: 




4.3.3 With probe injected into exhaust, the exhaust gas gets into optical path of the instrument and when the instrument shifts to test state, the screen will show: 


After the 45 seconds count-down completes, the air pump does not need to be closed and could still be able to be tested in order to facilitate observation of changes of vehicle exhaustion with time going by. It is also connected with computers and could refer to various instantaneous values through its host machine that can be analysed and treated by host machine. 

4.3.4 Press S and “Taking out probe” appears. After probe is took out, immediately open zeroing valve and “Zeroing” appears. 60 seconds count-down, shutting off air pump, cleaning (reverse blowing) sampling tube for 5 seconds, switching off valve, returning to test menu and showing the average value obtained 30 seconds after count-down. 

4.3.5 Choose PRT via S, and press E to PRT maximum, minimum and average value obtained 30 seconds after count-down. 

4.3.6 Press S to choose SAVE and then press E to save the data PRTed in 4.3.5. 

4.4 Idle(without tachometer, and when RPM is 0 on screen) 

As said above in section 3.8 and 3.5, input number plate of the vehicle to be tested and select Idle.

4.4.1 ChooseSTR  in test menu via S, and a prompt appears by pressing E: 


4.4.2 Press S for 20 seconds countdown, the screen displays: 

4.4.3After zeroing completes, 30 seconds countdown for HC remained check test will automatically start and the screen will show: 


4.4.4 HC remained passes test and the screen will show: 

4.4.5 The engine preheats for 30 seconds at 70% of rated speed and then adjust speed to idle. Pres E and the screen will show: 


4.4.6 After probe injected, the exhaust gas gets into optical path of instrument and when instrument shifts to test state, the screen will show: 




4.4.7 The screen shows as following when the test time ends: 


4.4.8 When HC concentration is under 30%of the average value or less than 22ppmvol, turn on the valve, and clean optical path at an accelerated speed for 60 seconds and the screen will show: 


When 60 seconds countdown ends, close air pump, carry on 5-second cleaning (reverse blowing), shut off valve and automatically return to test menu. 

4.4.9 As for PRTing output, please refer to process in 4.1.9

4.4.10 As for saving, please refer to process in 4.1.10

4.4.11 As for inspecting maximum and minimum value, please refer to process in 4.1.11. 

4.5. Double idle(without tachometer, and when RPM is 0 on screen) 

As said above in section 3.8 and 3.5, input number plate of the vehicle to be test and select double idle 

4.5.1 Start up test like 4.2.1

4.5.2 Press S for 20-second automatic zeroing count down. The same as 4.2.2 (namely, the same as 4.1.2)
4.5.3 When zeroing completes, 30 seconds count-down for HC leftover test will automatically start. It is the same as 4.2.3 (e.g. 4.1.3): 

4.5.4 HC leftover passes test and the screen will show: 


Adjust RPM to 70% of rated speed and preheat engine for 30 seconds. Press E after lowering RPM to fast idle (50% of rated speed). 

4.5.5 The screen will  prompt notify: put the probe in the exhaust, please refer to 4.2.6

4.5.6 With exhaust gas entering the optical path of instrument, fast idle test begins, which is the same as 4.2.7

4.5.7 The screen shows as following when the test time ends


4.5.8 The screen shows as following when RPM is retarded to ≤1100r/min


4.5.9 2 seconds later, it shows: 


Conduct test with idle speed for 45 seconds.

5.10 The screen shows as following when test with idle speed ends:


4.5.11 After the probe is took out and the concentration of HC is reduced to 30% of average

value, valve is automatically switched on and the optical path cleaning is accelerated while the screen shows: 



When 60 seconds countdown ends, close air pump, carry on 5-second cleaning (reverse blowing), shut off valve and automatically return to test menu.
4.5.12 As for PRTing, please do as 4.2.10
4.5.13 As for saving, please refer to process in 4.2.11 (e.g. 4.1.10) 

4.5.14 As for inspecting data, please refer to 4.2.12
5. Time setup 
Choose SET   in main menu via S and press E for displaying Set up menu. Please refer to section 3.5

Choose Time setup   in set up menu via S, and press E for displaying year-month-day, hh: mm :ss. When cursor points at “year”, “year” could be reset by pressing ▲and ▼. Once finished, please press S and move cursor to “month” to reset it through pressing ▲ and ▼. Later on, press S and move cursor to “date”, the same process goes on. All information about year-month-day, hh: mm :ss. could be changed. Finally, press E and move cursor back to Time setup   , you will find no data, and time setup ends.

6. ADJ operation (e.g. Scaling SET)
Before preparing for ADJ operation, a zeroing is necessary.

According to section 3.6, adjust menu will appear on screen.
6.1 HC/CO/ CO2 ADJ
Select “1:HC/CO/ CO2  ADJ”in adjust menu via, press E and the screen shows:



Choose in sequenceADJ ，HC CALC、CO CALC、CO2 CALC、HC（at this time press▲ and then C3H8appears）and ESC  via S.Change HC/ C3H8 into C3H8 via S and ▲Change the concentration of C3H8, CO and CO2 according to staItion gas value labeled on bottles via S and ▲/▼.  Inject staition gas for about 5 second through gas inlet; after data shown in “Current” is stable, choose  ADJ  via S and press E to confirm ADJ results. N. Scale obtained shall be between 0.5 and 1.5.

If N. Scale obtained exceeds the range, “wrong adjust” appears on the right bottom of the screen. Choose ESC via S and return to adjust menu via E.
6.2 O2/NO ADJ

Select2”2: O2/NO ADJ “in adjust menu via S. Press E and the screen will display

Choose in sequence O2    , NOx  NO CALC and ESC  via S 

6.2.1 O2ADJ

Choose O2   via S, press E and the screen will show:




Open air pump and reversing valve, clean optical path to facilitate fresh air’s (20.90% O2) passing through oxygen sensor. When 2-minute countdown ends, save the current voltage value of O2 as the adjust value. Shut off air pump and valve, and  O2 ADJ ends.  " O2 ADJ OK!.” will appear on the right bottom.


6.3 OIL T ADJ.

After being used for a period of time, OIL T ADJ. can be done when it is thought necessary.

Select”3 : OIL T ADJ” via S in adjust menu. press E and the screen will display:




Select  L.T. ,   H.T , low STDT, high STDT and  ESC  via S.

Prepare a low temperature source (e.g. a cup with ice), one high temperature source (e.g. cup with hot water of over 85 degree) and choose a thermometer with allowed error not larger than ±0.5% FS to be a standard thermometer.

First, put OIL. T probe and standard thermometer into low temperature source at the same time and reset the low temperature standard temperature according to thermometer after indicating value stabilizes. Press S to select  L.T. and E for adjusting low temperature point.

Then, put OIL. T probe and standard thermometer into high temperature source and reset high standard temperature according to thermometer and after indicating value stabilizes, press S to select  H.T.  and E for adjusting high temperature point.

Select ESC via S and return to adjust menu via E.
6.4 Restore original data

When errors occur in adjust, adjust data set before coming off line can be taken into consideration. 

Select:” 4:conifg 




resent:”bypressing S on adjust menu; press E and the screen will appear:

Press S to select 1：HC/CO/CO2   Scale reset  on  Conifg reset  menu; press E and the screen will show “HC/CO/ CO2 scale restored!”

Press S to select 5:return;Config reset  Press E, return to adjust menu.
6.4.2 O2 ORGN DATA

Press S to select 2：O2 scale reset  on Config reset  menu; press E and the screen will show “O2 scale restored!”

Press S to select 5：Return; return to adjust menu.

6.4.3 NO ORGN DATA

Press S to select 3： NO scale reset  on Config reset  menu; press E and the screen will show

“NO  scale restored!”

Press S to select 5：Return; return to adjust menu 

6.4.4 OIL T ORGN DATA 
Press S to select 4：O T scale reset  on Config reset menu; press E and the screen will show “OIL T scale restored!”

Press S to select 5：Return; return to adjust menu via E. Press E again, return to adjust menu.

7. Output Interface

The instrument could be equipped with mini PRTer to PRT out test results.

It could also be equipped with D/A analog output interface or RS-232 digital output interface. As for the function of output interface plug on the back panel, please refer to chart 2.


[image: image3.wmf]
Digital output interface 

2. RXD (receiving) 

3. TXD (sending)

5. GND (grounding) 

Fig.2 output interface pin function chart

7.1 D/A analog output interface 

Our instrument bears complete linear D/A output

All lines enjoy 0-5V voltage, and 5V corresponds to the maximum value of each part. No matter it is idle, double idle or general , instantaneous concentration values will be output and regular output will remain in test. 

7.2 Digital output interface 
The instrument is equipped with standard RS232A serial interface.

The connection ways are as follows:



Instrument output                                 RS232 serial communication 
Jack                                              port of an external 
computer
7.2.1 Parameter of RS232 serial communication

Baud rate: 9600 BPS

Length of characters: 1 byte is start, 8 bytes is data and 1 byte for stop

Test method: no test
7.2.2 O3H order given by external computer (host machine), referring to real-time data (without stops, e.g. once every 1 or 0.5 second) The instrument corresponds and gives back ACK(06H), HC, CO, CO2, O2, NOx, n, T, λ and check sum.(As for the meaning of the data, please refer to the next section)

8. Test process controlled by host copmputer
8.1 Telecommunication order

8.1.1 Pump switch on 

External computer gives out: 01H
Correspondence of the instrument: ACK(06H)

8.1.2 Pump switch off 

External computer gives out: 02H

Correspondence of the instrument: ACK(06H)

8.1.3 Obtaining real-time data

External computer gives out: 03H

The instrument corresponds ACK(06H), HC, CO, CO2, O2, NOx, n, T, λ and check sum.

8.1.4 SET engine to be four stokes

External computer gives out: 04H

Correspondence of the instrument: ACK(06H)

8.1.5 SET engine to be two stokes

External computer gives out: 05H

Correspondence of the instrument: ACK(06H)

8.1.6 SET gasoline as fuel 

External computer gives out: 06H

Correspondence of the instrument: ACK(06H)

8.1.7 SET LPG as fuel

External computer gives out: 07H

Correspondence of the instrument: ACK(06H)

8.1.8 SET IGN.M. mode as ONCE

External computer gives out: OAH

Correspondence of the instrument: ACK(06H)

8.1.9 SET IGN.M. mode as DOUBLE

External computer gives out: OBH

Correspondence of the instrument: ACK(06H)

8.1.10 HC remained check 
External computer gives out: 08H

Correspondence of instrument: testing HC remained check: 00H

HC remained test finishes qualified: ACK (06H)

HC remained test finishes qualified :on  NACK (15H)

8.1.11Zeroing in test

External computer gives out: 09H

Correspondence of instrument: zeroing is on the way: 00H

Zeroing completes, qualified: ACK (06H)

Zeroing completes, unqualified: NACK (15H)

8.1.12 Reading saved data

External computer gives out: 0FH

Correspondence of instrument: ACK(06H), data group, (number plate, test time, fast idle HC, CO, CO2, O2, NOx,  idle HC, CO, CO2, O2, NOx)(…) … checking sum.

Of which, data group is the total of data saved, (…) represents a group of data (altogether 33 characters), the number plate is 8-character ASCII code. When number plate is not saved, 8 characters are 20H, the test time adopts binary system of 5 characters with year, month, day, hh and mm occupying one character, five groups of fast idle occupy 2 characters (altogether 10), idle takes up 10 characters. The checking sum is the sum of all previous data (2 characters).As for idle and general , “5 groups of fast idle” is the average value of tested data and the 10 characters of “idle” are all FF.

After giving out OFH orders by external computers each time, the instrument could give out 10 groups of data at most. When data staved exceeds 10 groups, external computer could send out OFH orders many times and continually refer to the 10 groups of data until all data is obtained.

8.2Test process controlled by host computer (serial communication of idle double idle and general)
After preheat, the instrument is in the state of test (cursor is on Test )

8.2.0 External computer gives out orders, and selects Strokes, IGN.M. mode and fuel kind.

8.2.1 External computer gives out: 09H (indicating start zeroing)

Correspondence of instrument: 00H (indicating that the instrument has opened air pump, zeroing valve and is carrying on 30-second zeroing)

Once 30-second zeroing completes, if qualified 06H (ACK) will be given by the  instrument and if unqualified 15H (NACK) will be given. Air pump and zeroing valve within the instrument shall be shut off.

If the external computer gives out 09H again and again during the process, the instrument sends back 00H indicating that zeroing is on the way and will only stop when instrument corresponds ACK (06H) or NACK (15H).

8.2.2 External computer sends: 08H (indicating starting HC remained check )

Correspondence of instrument: 00H (indicating air pump is switched on and the 30-second HC remained check is running)

30-second HC remained check ends, and instrument sends back 06H (ACK) once qualified, however, it sends back 15H (NACK) once unqualified.

The external computer could send 08H again and again during the process. If HC leftover test is not completed, the instrument sends back 00H until the ACK (06H) or NACK (15H) is corresponded.

8.2.3 External computer sends: 03H (indicating to take real-time data)

The instrument corresponds ACK(06H), HC, CO, CO2, O2, NOx, n, T, λ and check sum.

8.2.4 External computer sends: 09H (indicating the end of test, the take-out of probe and start-up of zeroing)

Correspondence of instrument: 00H (indicating that the instrument has opened air pump, zeroing valve and is carrying on 30-second zeroing)

External computer sends 09H orders again and again during the period until the instrument corresponds ACK (06H).

8.2.5 External computer sends again: 09H (zeroing once again)

Correspondence of instrument: 00H, sending back 06H (ACK) after 30 seconds

8.2.6 External computer transmission：02H（indicating switching off air pump, exit）
Instrument response：ACK（06H）
Remarks：When during the process of external computer control test, the instrument only is responsible for zeroing, timing for 30 seconds and judging whether it is qualified or not, testing the HC remained for 30 seconds and judging whether it is qualified or not; making response to fetch order of the external computer at each 03H and then sending back immediate data. Other processes controlling and the data processing are responsible by external computer.

8.3 Under the process of preheat, L.P., zeroing, CLS, ROLL, ADJ, SET and SCH under the main menu, transmit the above orders to the host computer, and it responds as BUSY(05H). 

When the instrument receives the non-effective order, it will respond as NACK(15H).

8.4 Explanation of data format 

8.4.1 ACK(06H) single byte.

8.4.2 HC：The HC data is the integer r with symbol (2 bytes). High byte precede while the unit is ppmvol. For example, the HC concentration is 1234ppmvol, then the HC data is 04D2H (it works as fuel is set as gasoline, and indicated by hexylene. When fuel is set as LPG, it will be indicated by propane).
8.4.3 CO：The CO data is the integer with symbol (2 bytes). High byte precede while the unit is 100 times of percentage. For example, when the CO concentration is 1.23%, the CO data is 007BH.

8.4.4 CO2：The CO2 data represents the same as CO。

8.4.5 O2：The O2 data represents the same as CO。

8.4.6 NOx：The NOx data, stipulation is similar to HC。

8.4.7 n: RPM is the integerr with symbol (2 bytes). High byte precede, and its unit is r/min. 

8.4.8 O. T data is the number with marks (2 bytes). The top digit in first, and the unit is ℃. 

8.4.9 λ: The current data for excess air coefficient is the integer  with symbol  (2 bytes).Highby6te precede , and the data expanded 100 times, for example, the test result ofλis 1.05, then theλdata is 0069H. 
8.4.10 Checking sum: While all the above data add together, the added data is non-symbol integer  (2 bytes, High byte precede , disregarding the carry). 

Checking sum =06H+HC+CO+ C O2+ O2+ NOx +n+T+λ

VI. Replacement of spare part
1.The replacement of front filter core, the filter paper of dust filter and the sponge filter mouth:

Note: The front filter core, the filter paper and the sponge filter mouth have to be replaced together。

After many vehicles have already tested, the front filter core and the filter paper have been seriously polluted, at that time the front filter core, the filter paper and filter mouth should be replaced. The structures for front filter and dust filter are showed like chart 3, 4.
          1           2     3       4      5     6   7     8

1.Filter outer covering      
2.Filter core gland  

3. Filter core  

4.Plate rubber gasket      
5.Top plate nut        
6. Sampling pipe  

7. Rubber seal packing collar of O type              8.Front cover nut
Fig.3 Schematic drawing of front filter structure
1          2         3       4      5        6        7

 EMBED AutoCAD.Drawing.15  
[image: image4.wmf]

1. Screw lids 
 2. Lid for locating
    3. Big seal packing collars    

4. Small seal packing collar   5.Filter paper
 6. Dust filter seat



7. Analyzing box 

Fig.4 Assembly drawing for dust filter

2. Replacement for paper

The instrument has been installed scroll while it leaves the factory. If the paper has been used up and needs replacing, please do as following:

（1）Open the door of paper box. Press the above place of the box and it will open automatically. If it cannot open totally, please use your hand to help to pull it open as far as possible to the great angle. 

(2) Take out plastic support that is loaded with scroll (as picture 5 to install plastic support of scroll).


Push the paper axial up, and then take it out
Fig.5 Plastic support for installing scroll
(3)Try your best to take down the scroll, replace the blank scroll with the new one. After the new scroll set in the axis, install the scroll on the plastic support in the guide channel (Please note you must make sure the scroll has been installed reliable and will not fall), cut the scroll like the style in Picture 6, in order to insert the PRTer well.

Fig.6  Style of paper rolled and paper end
(4) After connecting the power source, simultaneously press PRT and ESC to make the PRTer nose rotate. At this time, use your hand to send the paper to the paper entrance under the PRTer nose, the paper then can enter the nose slowly, until the paper has the needed length out of the box gate, the scroll has been changed ok, again push up the box gate, press “Reset” key to stop the paper walking.

3. Color ribbon installation:

The color bandbox has been installed before the PRTer leaves the plant, but after a period of time of using, it needs replacing. You may do it according to following steps: 

(1) Open the box gate (Try your best to press the box gate above, the box goalkeeper loosens, then you can put the box gate as far as possible to the great angle by your hand), you may see the PRTer nose. (See Picture 7, PRTer nose inside box gate).

Box gate  

Color ribbon


PRTer nose

Fig.7 PRTer nose inside box gate
Take down the former color ribbon from PRTer nose (see Picture 8 schematic drawing for taking down color ribbon).

（2） Attention: Please first lift the right margin of the color ribbon box, and then lift left side again to take down the color bandbox.


Fig.8  Schematic drawing for taking the color ribbon

(3) Exchanging new color bandbox

First gently place left side color bandbox on the left side gear shaft of PRTer nose, lift right margin slightly, do not lay down. By now if you discover the left side color bandbox has not fallen, please use the finger to rotate slightly according to the arrow direction, fall the right margin of color bandbox down after left side color ribbon lays down. Please inspect whether the color ribbon pulls straight. If it has not been pulled straight, or the color ribbon also reveals outside color bandbox, you may again gyrate the knob on the color bandbox, until the color ribbon drags into in the color bandbox and pulls straight. If it does not have the paper in the nose, replacement of the color ribbon will be easier. 

(4)Close the box gate.

VII.Diagnoses for breakdown 

1The automatic diagnoses for breakdown

（1） Choose L.P. via S in the main menu, press E, then operate as showed. If it discovers gas pipeline leakage, then promptly, “leakage” will be shown in the display monitor. 

（2） when starting HC  remained check, if discovers gas pipeline obstruction to cause the flow excessively to be low, then “gas pipeline obstruction” will be shown on the display screen. 

After gas pipeline obstruction appears, you may choose CLS in the main menu and then press E again, “gas pipeline obstruction” on the display screen will be eliminated. 
（3） In process after starting ZERO, if discovers the optical path to be polluted and creates the HC channel voltage excessively to be low, then “Benchmark is wrong” will be shown on the display screen, indicating that the pollution is serious and that the optical path must be cleaned. 

（4） In test process after starting HC  remained check, if it examines HC remained  exceeding the allowed figure, then it can prompt “HC remained  “on the display screen. 

When one of the above four kinds of breakdowns appears, it will affect the normal use of the instrument, which will create unable to enter the test  process normally. At that time, inspect it and exclude the breakdown and then can use it normally.

2 Other breakdowns diagnose

2.1 display screens not to be bright

Please inspect whether the power source plug has been inserted right, and whether the power fusehas been damaged.

2.2 air pumps do not work or the reserving valve do not act

When entering zeroing process, you do not hear “toot toot” sound and “pa” sound, it means the air pump and (or) the reserving valve doesn’t work normally. Please have an inspection to the corresponding segment and the plug place. 

2.3 data is not normal

Data are small, so first should inspect whether the air pump flow reduces. If yes, it must be replaced; if the air pump work is normal, and the test data is too small, you should inspect gas tightness of instrument (monitoring instrument and front filter, pipeline attachment place whether leak). 

In the main menu press S to select ADJ, press E to enter adjust menu, again choose  6:

VOLTAGE DISPLAY in adjust menu via S; press E, enter “V form sensors. VOLTAGE” display screen. Analysing the data demonstrated will be helpful for us to analyze whether the instrument runs normally.

VIII.Instrument storage and maintenance: 

This instrument is the precision measurement instrument, when in use it should avoid exposing to the sun, the rain drenches, the intense mechanical vibrations and the caustic gas corrosion. After each time use, the instrument should be stored cleanly in moisture-proof, the mildew-proof environment, and should be not closed until the measured gas in the path of rays has been completely get rid of.

IX.Responsibility and guarantee of the factory 

If users could observe transportation, storage and use rule of the instrument, but its quality is lower than this standard product, the company will be responsible for the free repair or the replacement (excluding PRTer nose) of the instrument with 12 months from its delivery date, and provide the free lifelong maintenance service.

X.Appendix

Gasoline motorcar idle pollutant test technique (extract)

1.Idle working condition:

.a, engine running

 b, the clutch is in the join position

 c, the accelerator pedal and the hand accelerator are in loose position 

 d, the gearshift lever is in neutral 

 e valve chokers all open

Request on the tested vehicles

 (1) Exhaust gas system must have no leakage

(2) The depth of pipe inserting the exhaust must not be less than 300mm

(3) Engine must be up to the stipulated hot condition

Four Strokes:

Water cooling: Water temperature 60℃ above; Forced-air cooling: Oil temperature 40℃ above

(4) Engine regulating to stipulated idle

3.Test procedure:

(1) Engine accelerates from idle to the medium rated speed, maintains more than 5s, and again falls to idle 

 (2)Test

 (3) When reading, take instantaneous maximum value and average value

 (4) As for multi-exhaust pipes, take respective average value.

XI.Packing list
	No.
	Item
	Qty

	1
	Sampling Hose
	1

	2
	Power Line
	1

	3
	Sampling Head
	2

	4
	Water Separator Screw Cap
	1

	5
	Copper Filter Element For Water Separator
	10

	6
	Leak Detecting Cap
	1

	7
	Print Paper
	3

	8
	Standard Cylinder
	2

	9
	In-line filter
	20

	10
	Filter Paper
	4

	11
	Filter Nonwovens
	2

	12
	Fuse
	2


（S: select, E: confirm）              hh：mm：ss





HC    0000			CO		0.00


CO2	 0.35		  	 O2	0.00


NOX		0			   RPM	  0





λ x.xxx         Flow   2105sccm    COcor  0.00%


 O.T 114.1℃	   P  101.6kpa        t  27.6℃   





TEST     L. P.     ADJ       SET     SCH 








� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���








Setup menu                            hh : mm ：ss





Stroke：            √4 stroke        2 stroke


IGN. mode：        √once            double


Fuel  type：        √gasoline        LPG


Test  mode ：        Idle


Time setup


 resturn 








S:select, E:confirm,∧∨ modify








� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





Adjust                            hh ：mm ：ss








1：HC/CO/CO2  ADJ


2：O2/NO ADJ


3：O T.  ADJ


4：Config  reset


5：Return


6：Voltage display


7：Gauge gas check





(S: select,  E:confirm)








� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





V form sensors：（S : exit）                      10:59:52


Vcur	 Vref	Scale		T.scale





HC      4.602      4.751      1.000        40


CO      4.446      4.426      1.000        60


CO2      4.446      4.426      1.000       -90


O2      0..446     3.426      


NOx     4.446      4.426                    10


P       4.727       9.999       P.ref=100.7kpa


Flow	4.999	    9.999	    T.cur =27.7℃  


O.T		4.999				    T.adj=30.3℃  


G.T		0.556			        HC.scale=0.542








� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





Gauge gas check                                 11:07:35  





C.Cur               Check out


    HC/C3H8


CO


CO2


O2


Nox





S : select,  E: confirm








ESC      TEST








� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





Database    NO. ××××      hh：mm：ss


1：Delete all data


2：Index on number plates


3：Index on serial number


4：Return          





S :select,  E: confirm








� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





IDLE                                   hh：mm：ss





HC    0000			CO		0.00


CO2	  0.35		  	O2	  0.00


NOX		0			  RPM	 0





λ 1.000         Flow   2105sccm    COcor  0.00%


 O.T 114.1℃	   P  101.6kpa        t  27.6℃   





TEST    STR     PRT       SAVE     CUR 








� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





Set speed ：5000


∧∨ : modify ; E : confirm 


S : ignore speed        		











Zeroing, wait…… 19


 S: exit











HC remained check ，Wait


S:exit


	            











Speed up to 3500r/min         


S: exit 





	            











Keep at 3500r/min                     29


S :exit








	            











Retard to  ≤1100r/min               


S: exit








	            











Put the probe in the exhaust


keep idle，S :exit








	            











Testing，wait……44


keep idle，S:exit








	            











Take out the probe!


S : exit








	            











Zeroing ……59


S: exit








	            











cleaning ……59


S: exit








	            











Retard to 2500r/min


S: exit











	            











Put the probe in the exhaust


keep fast idle，S: exit











	            











testing，wait……44


keep fast idle，S : exit











	            











Retard to idle（≤1100r/min）


E: continue , S: exit











	            











Ready to test，wait……


keep idle，S :exit











	            











testing，wait……44


keep idle，S : exit








	            











Zeroing，wait……19


S: exit	             		





	            











Put the probe in the exhaust


S : exit             		


	            











Testing，wait……44


S: exit


            











Set speed：5000


∧∨ : modify，E :confirm


S: ignore speed  








Zeroing，wait……19


S: exit


            











HC remained check，wait……29


S : exit








After  preheat，restard to idle


E : continue S : exit








put the probe in the exhaust


keep idle，S : exit








testing，wait……44


keep idle，S : exit








Take out the probe！


S : exit








zeroing ……59！


S : exit








After preheat ，retard to fast idle


E : continue,S : exit








Retard to idle


E : continue  S : exit





Read to test，wait……


keep idle，S : exit








testing，wait……44


（keep idle，S : exit）








Take out the probe！


S: exit








zeroing……59


S : exit）








HC/CO/CO2  ADJ                         hh : mm ：ss





Gsuge		 Current	     New scale


H3C8		1600		0		  1.002


CO		3.60		0.00  1.031


CO2		13.00	  0.35  1.001





S :select ，E :confirm，∧∨ : modify:





ESC     ADJ 








� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





O2/NO  ADJ                           hh ：mm ：ss





Gauge		      Current		


O2：	 	 20.90		 21.58	


NO：   1030      0





S :select ，E : modify，∧∨:modify 


  


              


	    ESC      O2          NOx  








O2 adjusting，wait……119


S: cancel








Note: as the output of oxygen sensor is kind of drifting, O2 ADJ shall be done regularly to ensure an accurate test of oxygen concentration. 





OIL T ADJ                          hh ：mm ：ss





gauge			Current		





LOW：	 	 10.0			114.1	


	


HIGHT：	     75.0		  	114.1





S:select ，E : confirm，∧∨ : modify 





ESC      L.T.        H.T. 








� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





Config reset                        hh ：mm ：ss


1：HC/CO/CO2   Scale reset


2：O2      Scale reset


3：NO     Scale reset


4：OIL T  Scale reset


5：Return


(S:select ，E:confirm)





� EMBED PBrush \* MERGEFORMAT ���





� EMBED PBrush \* MERGEFORMAT ���





TXD





RXD





GND





RXD





TXD





GND





� EMBED  \* MERGEFORMAT ���





� EMBED  \* MERGEFORMAT ���





� EMBED  \* MERGEFORMAT ���





� EMBED  \* MERGEFORMAT ���





� EMBED  \* MERGEFORMAT ���








1

_1234567905

_1234567913

_1234567917

_1234567921

_1234567925.dwg

_1234567927.unknown

_1234567928.unknown

_1234567929.unknown

_1234567926.unknown

_1234567923.dwg

_1234567924.unknown

_1234567922

_1234567919

_1234567920

_1234567918

_1234567915

_1234567916

_1234567914

_1234567909

_1234567911

_1234567912

_1234567910

_1234567907

_1234567908

_1234567906

_1234567897

_1234567901

_1234567903

_1234567904

_1234567902

_1234567899

_1234567900

_1234567898

_1234567893

_1234567895

_1234567896

_1234567894

_1234567891

_1234567892

_1234567890.dwg

